Annexure - 7

(Referred to in  paragraph 1.15)

Statement showing status of implementation of reform programme against each commitment made in the MOU

| Sl No. | Commitment as per MOU | Targeted completion Schedule | Status (As on 30 September 2005) |
| --- | --- | --- | --- |
|  | Commitments made by the State Government |  |  |
|  | Reduction in Transmission and Distribution losses | From 29.6 % to 19.5% by 2006-2007 | Reduced to 21.54 per cent by March 2005 |
|  | 100 per cent electrification of all villages |  |  |
|  | 100 per cent metering of all distribution feeders 100 per cent metering of 11 KV feeders | December 2001 March 2001 | Not Available All are metered |
|  | 100 per cent metering of all consumers | March 2002 | Fully provided |
| 5. | Others |  |  |
|  | (i) Conversion of distribution companies into Joint Venture Companies | June 2002 | Not yet done |
|  | (ii) Energy Audit at all Levels | December 2001 | Meters have been installed at all 82 points |
|  | (a) 220 KV/132 KV boundary metering points between AP GENCO and AP TRANSCO |  | Completed (July 2002) |
|  | (b) 485 inter - face points between AP TRANSCO and DISCOMS |  | Meters of 0.5 class accuracy installed for 558 points and 0.2 class accuracy installed for 325 points |
|  | (c) at LT side of Agricultural transformers |  | All 50,000 meters were erected. |
|  | Commitments made by the Central Government |  |  |
| 6. | Securities outstanding dues of CPSUs | Government of Andhra Pradesh has issued Notification for issuance of Bonds to the tune of Rs.2436.09 crore through RBI to CGS vide GOAP Lr No:3321/706/A2/W&M/2003 dated 18.08.2003 | RBI has to issue bonds to CGS through DMA Form by end of August 2003, for which information is awaited. |
| 7. | Supply of additional power | GOI will allocate additional 140 MW of power on completion of three transmission lines namely (1) 400-KV Khammam-Hyderabad double circuit Line and two (2) 220 KV Nidadavolu-Bhimadolu and (3) Lower Sileru-Bommuru Double Circuit Lines | Commissioned on 29-09-2001 Charged on 27-01-2002 Charged on 31-03-2003 |
|  | Others |  |  |
| 8. | Allocation of additional power from new central generation stations to DISCOMS directly | After achieving financial capability | Not achieved |
|  | General |  |  |
| 9. | Monitoring of MOU | Once in 3 months | Distribution Reforms Committee was constituted to conduct the meetings once in every three months. The Committee so far held five meetings on 20-12-2002, 06-08-2003, 10-11-2003, 17-09-2004 and 20-09-2005. |

Annexure – 8

(Referred to in paragraph 1.30)

## Statement showing paid-up capital, investment and summarised working results of 619-B companies as per their latest finalised accounts

(Figures in column 5 to 21 are Rupees in lakh)

| Sl.No. | Name of the Company | Status Working (W)/ nonworking (NW) | Year of account | Paid- up capital | Equity by | Loans by | Grants by | Total investment by way of equity, loans and grants | Profit (+)/ loss (-) | Accumulated profit(+)/ accumulated loss(-) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | State Govt. | State Govt. Companies | Central Govt. and their Companies | Others | State Govt. | State Govt. Companies | Central Govt. and their companies | State Govt. | State Govt. Companies | Central Govt. and their companies | State Govt. | State Govt. Companies | Central Govt. and their companies | Others |  |  |
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16) | (17) | (18) | (19) | (20) | (21) |
| 1. | Suganthi Alloy Castings Ltd. | NW | 1983-84 | 20.00 | -- | 10.00 (50) | 4.00 (20) | 6.00 (30) | -- | -- | -- | -- | -- | -- | -- | 10.00 | 4.00 | 6.00 | (-)16.00 | (-) 26.00 |
| 2. | P.J.Chemicals Ltd. | NW | 1989-90 | 38.00 | -- | 16.00 (42) | 22.00 (58) | -- | -- | -- | -- | -- | -- | -- | -- | 16.00 | 22.00 | -- | (-)51.00 | (-) 356.00 |
| 3. | Andhra Pradesh Automobile Tyres and Tubes Ltd. | NW | 1992-93 | 75.00 | -- | 73.00 (97) | -- | 2.00 (3) | -- | -- | -- | -- | -- | -- | -- | 73.00 | -- | 2.00 | (-)2.00 | (-)77.00 |
| 4. | Krishi Engines Ltd. | NW | 1984-85 | 52.00 | -- | 29.00 (56) | 10.00 (19) | 13.00 (25) | -- | -- | -- | -- | -- | -- | -- | 29.00 | 10.00 | 13.00 | (-)52.00 | (-) 354.00 |
| 5. | Vidyuth Steels Ltd. | NW | 1985-86 | 88.00 | -- | 29.00 (33) | 31.00 (35) | 28.00 (32) | -- | -- | -- | -- | -- | -- | -- | 29.00 | 31.00 | 28.00 | (-)40.00 | (-) 155.00 |
| 6. | Golkonda Abrasives Ltd. | NW | 1997-98 | 55.00 | -- | 38.00 (69) | -- | 17.00 (31) | -- | -- | -- | -- | -- | -- | -- | 38.00 | -- | 17.00 | (-)1.00 | (-)744.00 |
| 7. | Andhra Pradesh State Seeds Development Corporation Ltd. | W | 2004-05 | 277.30 | 107.51(39) | -- | 90.00 (32) | 79.79 (29) | 13362.07 | -- | -- |  | -- |  | 13469.58 | -- | 90.00 | 79.79 | 106.06 | 64.64 |
| 8. | Hyderabad Information Technology Venture Enterprises Limited | W | 2000-01 | 25.00 | -- | 12.50 (50) | 12.50 (50) | -- | -- | -- | -- | -- | -- | -- | -- | 12.50 | 12.50- | -- | 22.92 | 14.90 |
| 9. | Cyberabad Trustee Company Pvt Limited | W | 2001-02 | 5.00 | -- | 2.50 (50) | 2.50 (50) | -- |  |  |  |  |  |  | -- | 2.50 | 2.50 | -- | (-)0.19 | (-)0.07 |
|  | TOTAL |  |  | 635.30 | 107.51 | 210.00 | 172.00 | 145.79 | 13362.07 |  |  | - |  |  | 13469.58 | 210.00 | 172.00 | 145.79 |  |  |

Figures in brackets indicate the percentage of equity contribution with reference to total equity capital.